XPS Peak Fitting Program for WIN95/98

XPSPEAK Version 4.0

Introduction

I had spent >1000 hours on XPS peak fitting when I was a graduate student.  During that time, I have dreamed of many features in the XPS peak fitting software that could help to obtain more information from the XPS peaks and reduce my processing time.  In 1994, I wrote a program that converts the Kratos XPS spectral files to ASCII data.  Once this program was finished, I found that the program could be easily converted to a peak fitting program.  Then I added the dreamed features into the program, e.g., a better way to locate a point at a noise baseline for the Shirley background calculations, combine the two peaks of 2p3/2 and 2p1/2, fitting different XPS regions at the same time.

After the first version and Version 2.0, many people have emailed me and gave me a lot of suggestions.  I also found additional features that I can put into the program.  The major change in Version 3.0 is the addition of Newton`s method for optimization.  I found that Newton`s method can greatly reduce the optimization time for multiple region peak fitting.  For Version 3.1, I have removed all the run-time errors that reported to me.  A "Shirley + Linear" background was added.  The "copy to clipboard" function was added as requested by a user.  Some other minor graphical features were added.  In Version 4.0, the asymmetrical peak function, three additional file formats for import and a few minor adjustments were added.  However, the addition of asymmetrical peak function actually requires me to change the peak function from the Gaussian-Lorentzian product function to the Gaussian-Lorentzian sum function.  Calculation of the asymmetrical function using the Gaussian-Lorentzian product function is too difficult to implement.  I also realize that the software of our newly acquired Phi's Quantum 2000 XPS system uses the Gaussian-Lorentzian sum function while the software of our Kratos XPS system uses the Gaussian-Lorentzian product function.  Therefore, I implemented both functions in the program.  The user can select the function type in the Options window.  However, the value of %Gaussian-Lorentzian parameter is different in these two functions.  If the selection is the sum function, when the user opens a *.xps file that was optimized using the Gaussian-Lorentzian production function, you have to re-optimize the spectra using the Gaussian-Lorentzian sum function with a different %Gaussian-Lorentzian value.

I realized that the program has weakness in the background routines.  It seems to me that I have to read a lot of papers in the literature in order to revise them.  I will do that in the next version.  I have tried but I do not know how to do in Visual Basic 6.0 for setting some windows permanently in the front of other windows and to create a help file.

This version of the program was written in Visual Basic 6.0 and uses 32 bit processes.  This is a freeware.  You may ask for the source program if you really want to.  I hope this program will be useful for people without a modern XPS software.  I also hope that the new features in this program can be adopted by the XPS manufacturers in the later versions of their software.  If you have any questions/suggestions, please send an email to me.

Raymund W.M. Kwok

Department of Chemistry

The Chinese University of Hong Kong

Shatin, Hong Kong

Tel: (852)-2609-6261

Fax:(852)-2603-5057

email: rmkwok@cuhk.edu.hk

Finally, I would like to thank the comments and suggestions from many people.  For the completion of Version 4.0, I would like to think Dr. Bernard J. Flinn for the routine of reading Leybold ascii format, Prof. Igor Bello for exporting his spectra into VAMAS files from a VG system for the program testing, and my graduate students for testing the program.  I hope I will add other features into the program in the near future.

Program Installation

Unzip the XPSPEA4.ZIP file and run Setup.exe program in Win 95 or Win 98.

Features of the program

(1)	Peak parameters

This program uses the following asymmetric Gaussian-Lorentzian sum function

AGL(x,p,w,h,m,TS,TL)=h(1−m)⋅e−ln(2)⋅Q+m1+Q+TS1−e−ln(2)⋅Q⋅e−6.9TL⋅Q

where Q=2⋅(x−p)w2

m=0 for 100% Gaussian

m=1 for 100% Lorentzian

TS and TL are the parameters for the asymmetric tail

TS=0 for symmetric Gaussian-Lorentzian function

and the following symmetrical Gaussian-Lorentzian product function

GL(x,p,w,h,m)=he−(1−m)⋅ln(2)⋅Q1+m⋅Q

where Q=x−pw2

m=0 for 100% Gaussian

m=1 for 100% Lorentzian

You can choose the function type in the Options window.  Select "GL sum" for the Gaussian-Lorentzian sum function and "GL product" for the Gaussian-Lorentzian product function.  For the Gaussian-Lorentzian sum function, each peak can have six parameters, i.e., peak position, area, FWHM, %Gaussian-Lorentzian, TS and TL.  Each peak in the Gaussian-Lorentzian product function can have four parameters, i.e., peak position, area, FWHM, and %Gaussian-Lorentzian.  Since peak area relates the atomic concentration directly, we use it as a peak parameter and the peak height will not be shown to the user.

For asymmetric peak, the FWHM only refers to the half of the peak that is symmetrical.  The actual FWHM of the peak is calculated numerically and is shown after the "actual FWHM" in the Peak Parameter Window.  If the asymmetric peak is a doublet (p, d or f type peak), the "actual FWHM" is the FWHM of the doublet.

(2)	Peak types: p, d and f.

Each of these peaks combines the two splitting peaks.  The FWHM is the same for both the splitting peaks, e.g. a p-type peak with FWHM=0.7eV is the combination of a p3/2 with FWHM at 0.7eV and a p1/2 with FWHM at 0.7eV, and with an area ratio of 2 to 1.  If the theoretical area ratio is not true for the splitted peaks, the old way of setting two s-type peaks and adding the constraints should be used.  The “s.o.s.” stands for spin orbital splitting.

Note:	the FWHM of the p, d or f peaks are the FWHM of the p3/2, d5/2 or f7/2, respectively.  The FWHM of the combined peaks (e.g. combination of p3/2 and p1/2) is shown in the "actual FWHM" in the Peak Parameter Window.

(3)	Peak constraints

Each parameter can be referenced to the same type of parameters in other peaks.  For example, for four peaks (Peak#0, 1, 2 and 3) with known relative peak positions (0.5eV between adjacent peaks) , the following can be used

Position: Peak 1 = Peak 0 + 0.5eV

Position: Peak 2 = Peak 1 + 0.5eV

Position: Peak 3 = Peak 2 + 0.5eV

You may reference to any peaks except with looped references.

The optimisation of the %GL value is allowed in this program.  A suggestion to use this feature is to find a nice peak for a certain setting of your instrument and optimise the %GL for this peak.  Then fix the %GL in the later peak fitting process when the same instrument settings were used.

This version also includes the setting of the upper and lower bounds for each parameter.

(4)	Background

This program provides the choices of Shirley, Linear or Tougaard backgrounds.  For Tougaard background, the program can optimize the B1 parameter by minimizing the "square of the difference" of the intensities of ten data points in the high binding energy side of the range with the intensities of the calculated background.

Averaging at the end points of the background can reduce the time to find a point at the middle of a noisy baseline.  The program includes the choices of None (1 point), 3, 5, 7, and 9 point average.  This will average the intensities around the binding energy you selected.

The "Shirley + Linear" background was added for sloped background.  The "Shirley + Linear" background is the Shirley background plus a straight line with starting point at the low BE end-point and with a slope value.  If the slope value is zero, the original Shirley calculation is used.  If the slope value is positive, the straight line has higher values at the high BE side, which can be used for spectra with higher background intensities at the high BE side.  Similarly, a negative slope value can be used for a spectrum with lower background intensities at the high BE side.  The optimization button may be used when the Shirley background is higher than the signal intensities.  The program will increase the slope value until the Shirley background is below the signal intensities.  Please see the example: Cu2p_bg.xps.

I believe that the background subtraction calculation cannot remove exactly the background signals.  For quantitative studies, the best procedure is "consistency".

(5)	Optimization

You can optimize a single peak parameter, the peak (the peak position, area, FWHM, and the %GL if the "fix" box is not ticked), a single region (all the parameters of all the peaks in that region if the "fix" box is not ticked), or all the regions.  During optimization, you can press the "Cancel" button and the program will stop the process in the next cycle.

(6)	Options of the program

The %tolerence allows the optimization routine to stop if the change in the "difference" after one loop is less that the %tolerence.  The default setting of the optimization is Newton's method.  This method requires a delta value for the optimization calculations.  You may need to change the value in some cases, but I found that the existing setting is enough for all of my data.

For the binary search method, it searches the best fit for each parameter in up to four levels of value ranges.  For example, for a peak position, in first level, it calculates the chi^2 when the peak position is changed by +2eV, +1.5eV, +1eV, +0.5eV, -0.5eV, -1eV, -1.5eV, and -2eV (range 2eV, step 0.5eV).  Then, it selects the position value that gives the lowest chi^2.  In the second level, it search the best values in the range +0.4eV, +0.3eV, +0.2eV, +0.1eV, -0.1eV, -0.2eV, -0.3eV, and -0.4eV (range 0.4eV, step 0.1eV).  In the third level, it selects the best value in +0.09eV, +0.08eV, ...+0.01eV, -0.01eV, ...-0.09eV.  This will give the best value with two digits after decimal.  Level 4 is not used in the default setting.  The range setting and the number of levels in the option window can be changed if needed.

The Newton's Method or Binary Search Method can be selected by clicking the "use" selection box of that method.

The selection of the peak function is also in the Options window.

The user can save/read the option parameters with the file extension *.opa.  The program reads default.opa file at the beginning of its running.  Therefore, the user can customize the program options by saving the selections into the default.opa file.

(7)	Region Shift

A "Region Shift" parameter was added under the "Parameters" menu.  I intend to use this parameter to compensate the charging effect, fermi level shift or change in system work function.  This value will be added to all the peak positions in the region for fitting purposes.

An example:

A polymer surface is positively charged and all the peaks are shifted to the high binding energy by +0.5eV, e.g. aliphatic carbon at 285.0eV shifts to 285.5eV.  When the Region Shift parameter is set to +0.5eV, 0.5eV will be added to all the peak positions in the region during peak fitting.  But the listed peak positions are not changed, e.g. 285.0eV for aliphatic carbon.

(8)	Import

The program can read the Kratos's *.DES files together with the peak fitting parameters in the file, the ASCII files exported from Phi's Multiplex software, the ASCII files of Leybold's software and the VAMAS file format.  For the Phi and Leybold, multiple regions can be read.  For the VAMAS import, I have tested only the 1988 format exported by the VG ESCALAB-220’s software.  I guess the program should be able to read the later version of the format, but only limited to the first region.  If someone can provide me a multiple region VAMAS file, I can add this in.  The program can also import ASCII file in the following format:

Binding Energy Value 1 	Intensity Value 1

Binding Energy Value 2 	Intensity Value 2

..			  	..

The B.E. list must be in ascending or descending order, and the separation of adjacent B.E.s must be the same .  However, the file cannot have other lines before and after the data, and sometimes, TAB may cause reading error.

(9)	Export

The program can export the ASCII file of spectrum (*.DAT) for making high quality figures using other software (e.g. SigmaPlot).  It can export the parameters (*.PAR) for further calculations (e.g. use Excel for atomic ratio calculations).  It can also copy the spectral image to the system clipboard so that the spectral image can be pasted into a document (e.g. MS WORD).

(10)	File I/O

The program can store all the peak information into a *.XPS file for later use.  The file format of XPSPEAK 4.0 is different from XPSPEAK 3.1, 3.0 and 2.0.  However, XPSPEAK 4.0 can read the file format of XPSPEAK 3.1, 3.0 and 2.0, but not the reverse.

The program can also store/read the peak parameter files *.RPA so that you do not need to re-type all the parameters again for a similar spectrum.

Limitations

This program limits the maximum number of points for each spectrum to 5000 and the maximum of peaks for all the regions to 51.  For each region, the maximum number of peaks are 10.

Warning for peak fitting

I found that some graduate students believe that the fitting parameters for the best fitted spectrum is the "final answer".  This is definitely not true.  Adding enough peaks can always fit a spectrum.  Peak fitting only assists the verification of a model.  The user must have a model in mind before adding peaks to the spectrum!

Sample Files:

(i)	gaas.xps:  a file contains 10 spectra

Use Open to retrieve the file.  It includes ten regions, 1-4 for Ga 3d, 5-8 for Ga 3d and 9-10 for S 2p.  For the Ga 3d and As 3d, the peaks are d-type with s.o.s.=0.3 and 0.9 respectively.  Regions 4 and 8 are the sample just after S-treatment.  Other regions are after annealing.  Peak width of Ga 3d and As 3d are constrained to those in regions 1 and 5.  The fermi level shift of each region was determined using the As 3d5/2 peak and the value was put into the "Region Shift" of each region.  Since the region shift takes into account the Fermi level shift, the peak positions can be easily referenced for the same chemical components in different regions, i.e. Peak#1, 3, 5 of Ga 3d are set equal to Peak#0, and Peak#8, 9, 10 of As 3d are set equal to Peak#7.  Note that the %GL value of the peaks is 27% using the GL sum function in Version 4.0, while it is 80% using the GL product function in previous versions.

(ii)	Cu2p_bg.xps: background subtraction using Shirley method

The spectrum was sent to me by Dr. Roland Schlesinger.

Region 1 shows the problematic background when the Shirley background is higher than the signal intensities.  In the Shirley calculation routine, some negative values are generated and resulted in a non-monotonic increase background.

Region 2 shows a "Shirley + Linear" background.  The slope value was input by trial-and-error until the background is lower than the signal intensities.

Region 3 was obtained using the optimization routine.

(iii)	Kratos.des: a Kratos DES file

Use import Kratos to retrieve the file.  Note that the four peaks are all s-type.  You may delete peak 2, 4 and change the peak 1,3 to d-type with s.o.s. =0.7.  You may also read in the parameter file: as3d.rpa.

(iv)	ASCII.prn: an ASCII file

Use import ASCII to retrieve the file.  It is a As 3d spectrum of GaAs.  In order to fit the spectrum, you need to first add the background and then add two d-type peaks with s.o.s.=0.7.  You may also read in the parameter file: as3d.rpa.

(v)	Phi.asc: an ASCII file exported from Phi's Multiplex v6.0

Use import Phi to retrieve the file.  It is a Ag 3d5/2 spectrum.  You may try to use the following parameters to fit the Ag 3d5/2 peak: Shirley background, s-type peak, %GL=50, TS=0.1 and TL=70.

(vi)	Leybold.asc:  an ASCII file of Leybold format provided by Bernard J. Flinn.  It contains four regions.

(vii)	VAMAS.txt: a VAMAS file exported from the VG ESCALAB-220's software.

Have Fun!		Dec. 31, 1998.